## BasicEn
Name | Current Status | Reactor Type | Reactor Type Explanation | Owner | Operator | Model | Longtitude | Latitude | Province
Cefr | Operable | FBR (Fast Reactor) | A fast neutron reactor or simply a fast reactor is a category of nuclear reactor in which the fission chain reaction is sustained by fast neutrons. Such a reactor needs no neutron moderator, but must use fuel that is relatively rich in fissile material when compared to that required for a thermal reactor. | China National Nuclear Corporation | China Institute Of Atomic Energy | BN-20 | 116.0539 | 39.7507 | Beijing
Changjiang1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Hainan Nuclear Power Company | CNP-600 | 109.041 | 19.3917 | Hainan
Changjiang2 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Hainan Nuclear Power Company | CNP-600 | 109.041 | 19.3917 | Hainan
Daya Bay 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Holding Co.,Ltd. | Daya Bay Nuclear Power Operations and Management Co.,Ltd. | M-310 | 114.5474 | 22.5942 | Guangdong
Daya Bay 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Holding Co.,Ltd. | Daya Bay Nuclear Power Operations and Management Co.,Ltd. | CPR-1000 | 114.5474 | 22.5942 | Guangdong
Fangchenggang 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Guangxi Fangchenggang Nuclear Power Company Ltd. | Guangxi Fangchenggang Nuclear Power Company Ltd. | CPR-1000 | 108.3558 | 21.6221 | Guangxi
Fangchenggang 2 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Guangxi Fangchenggang Nuclear Power Company Ltd. | Guangxi Fangchenggang Nuclear Power Company Ltd. | CPR-1000 | 108.3558 | 21.6221 | Guangxi
Fangjiashan 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Qinshan Nuclear Power Company | CPR-1000 | 120.9432 | 30.4461 | Zhejiang
Fangjiashan 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Qinshan Nuclear Power Company | CPR-1000 | 120.9432 | 30.4461 | Zhejiang
Fuqing 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | CNNC Fujian Fuqing Nuclear Power Co.,Ltd. | CPR-1000 | 119.5344 | 25.522 | Fujian
Fuqing 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | CNNC Fujian Fuqing Nuclear Power Co.,Ltd. | CPR-1000 | 119.5344 | 25.522 | Fujian
Fuqing 3 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | CNNC Fujian Fuqing Nuclear Power Co.,Ltd. | CPR-1000 | 119.5344 | 25.522 | Fujian
Fuqing 4 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | CNNC Fujian Fuqing Nuclear Power Co.,Ltd. | CPR-1000 | 119.5344 | 25.522 | Fujian
Fuqing 5 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | CNNC Fujian Fuqing Nuclear Power Co.,Ltd. | Hualong One | 119.5344 | 25.522 | Fujian
Haiyang1 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Power Investment Corporation | Shandong Nuclear Power Company Ltd. | AP-1000 | 120.9432 | 30.4461 | Shandong
Haiyang2 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Power Investment Corporation | Shandong Nuclear Power Company Ltd. | AP-1000 | 120.9432 | 30.4461 | Shandong
Hongyanhe1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | CPR-1000 | 121.5742 | 39.7672 | Liaoning
Hongyanhe2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | CPR-1000 | 121.5742 | 39.7672 | Liaoning
Hongyanhe3 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | CPR-1000 | 121.5742 | 39.7672 | Liaoning
Hongyanhe4 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | CPR-1000 | 121.5742 | 39.7672 | Liaoning
Hongyanhe5 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | ACPR-1000 | 121.5742 | 39.7672 | Liaoning
Hongyanhe6 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | Liaoning Hongyanhe Nuclear Power Co.,Ltd. | ACPR-1000 | 121.5742 | 39.7672 | Liaoning
Ling Ao 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Lingao Nuclear Power Company Ltd. | Daya Bay Nuclear Power Operations and Management Co.,Ltd. | M-310 | 114.4969 | 22.5539 | Guangdong
Ling Ao 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Lingao Nuclear Power Company Ltd. | Daya Bay Nuclear Power Operations and Management Co.,Ltd. | M-310 | 114.4969 | 22.5539 | Guangdong
Ling Ao 3 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Lingdong Nuclear Power Company Ltd. | Daya Bay Nuclear Power Operations and Management Co.,Ltd. | CPR-1000 | 114.4969 | 22.5539 | Guangdong
Ling Ao 4 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Lingdong Nuclear Power Company Ltd. | Daya Bay Nuclear Power Operations and Management Co.,Ltd. | CPR-1000 | 114.4969 | 22.5539 | Guangdong
Ning de 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Fujian Ningde Nuclear Power Company Ltd. | CPR-1000 | 120.2604 | 27.1097 | Fujian
Ning de 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Fujian Ningde Nuclear Power Company Ltd. | CPR-1000 | 120.2604 | 27.1097 | Fujian
Ning de 3 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Fujian Ningde Nuclear Power Company Ltd. | CPR-1000 | 120.2604 | 27.1097 | Fujian
Ning de 4 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Fujian Ningde Nuclear Power Company Ltd. | CPR-1000 | 120.2604 | 27.1097 | Fujian
Qinshan 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Qinshan Nuclear Power Company | CNNC Nuclear Operation Management Co.,Ltd. | CNP-300 | 120.9237 | 30.4375 | Zhejiang
Qinshan 2 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | CNP-600 | 120.9237 | 30.4375 | Zhejiang
Qinshan 2 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | CNP-600 | 120.9237 | 30.4375 | Zhejiang
Qinshan 2 3 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | CNP-600 | 120.9237 | 30.4375 | Zhejiang
Qinshan 2 4 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | Nuclear Power Plant Qinshan Joint Venture Company Ltd. | CNP-600 | 120.9237 | 30.4375 | Zhejiang
Qinshan 3 1 | Operable | PHWR(Pressurized Heavy Water Reactor) | A pressurized heavy-water reactor (PHWR) is a nuclear reactor, commonly using unenriched natural uranium as its fuel, that uses heavy water (deuterium oxide D2O) as its coolant and neutron moderator. The heavy water coolant is kept under pressure, allowing it to be heated to higher temperatures without boiling, much as in a pressurized water reactor. While heavy water is significantly more expensive than ordinary light water, it creates greatly enhanced neutron economy, allowing the reactor to operate without fuel-enrichment facilities (offsetting the additional expense of the heavy water) and enhancing the ability of the reactor to make use of alternate fuel cycles. | The Third Qinshan Jointed Venture Company Ltd.a. | The Third Qinshan Jointed Venture Company Ltda. | CANDU-6 | 120.9237 | 30.4375 | Zhejiang
Qinshan 3 2 | Operable | PHWR(Pressurized Heavy Water Reactor) | A pressurized heavy-water reactor (PHWR) is a nuclear reactor, commonly using unenriched natural uranium as its fuel, that uses heavy water (deuterium oxide D2O) as its coolant and neutron moderator. The heavy water coolant is kept under pressure, allowing it to be heated to higher temperatures without boiling, much as in a pressurized water reactor. While heavy water is significantly more expensive than ordinary light water, it creates greatly enhanced neutron economy, allowing the reactor to operate without fuel-enrichment facilities (offsetting the additional expense of the heavy water) and enhancing the ability of the reactor to make use of alternate fuel cycles. | The Third Qinshan Jointed Venture Company Ltd.a. | The Third Qinshan Jointed Venture Company Ltda. | CANDU-6 | 120.9237 | 30.4375 | Zhejiang
Sanmen 1 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Sanmen Nuclear Power Co.,Ltd. | AP-1000 | 121.6437 | 29.0968 | Zhejiang
Sanmen 2 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Sanmen Nuclear Power Co.,Ltd. | AP-1000 | 121.6437 | 29.0968 | Zhejiang
Shidao Bay 1 | Under Construction | HTGR (High Temperature Gas-Cooled Reactor) | The HTGR is a inherently safe, modular, underground helium-cooled nuclear reactor technology, The reactor and the nuclear heat supply system (NHSS) is comprised of three major components: the reactor, a heat transport system and a cross vessel that routes the helium between the reactor and the heat transport system. | China Huaneng Group | Huaneng Shandong Shidao Bay Nuclear Power Company,Ltd. | HTR-PM | 121.6437 | 29.0968 | Shandong
Taishan 1 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Guangdong Taishan Nuclear Power Joint Venture Co.,Ltd. | Guangdong Taishan Nuclear Power Joint Venture Co.,Ltd. | EPR-1750 | 112.9063 | 21.9814 | Guangdong
Taishan 2 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Guangdong Taishan Nuclear Power Joint Venture Co.,Ltd. | Guangdong Taishan Nuclear Power Joint Venture Co.,Ltd. | EPR-1750 | 112.9063 | 21.9814 | Guangdong
Tianwan 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Jiangsu Nuclear Power Corporation | Jiangsu Nuclear Power Corporation | VVER V-428 | 119.4693 | 34.6957 | Jiangsu
Tianwan 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Jiangsu Nuclear Power Corporation | Jiangsu Nuclear Power Corporation | VVER V-428 | 119.4693 | 34.6957 | Jiangsu
Tianwan 3 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Jiangsu Nuclear Power Corporation | VVER V-428 | 119.4693 | 34.6957 | Jiangsu
Tianwan 4 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China National Nuclear Corporation | Jiangsu Nuclear Power Corporation | VVER V-428 | 119.4693 | 34.6957 | Jiangsu
Yangjiang 1 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Guandong Nuclear Power Joint Venture Company Limited | Yangjiang Nuclear Power Company | CPR-1000 | 112.2351 | 21.7444 | Guangdong
Yangjiang 2 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | Guandong Nuclear Power Joint Venture Company Limited | Yangjiang Nuclear Power Company | CPR-1000 | 112.2351 | 21.7444 | Guangdong
Yangjiang 3 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Yangjiang Nuclear Power Company | CPR-1000 | 112.2351 | 21.7444 | Guangdong
Yangjiang 4 | Operable | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Yangjiang Nuclear Power Company | CPR-1000 | 112.2351 | 21.7444 | Guangdong
Yangjiang 5 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Yangjiang Nuclear Power Company | ACPR-1000 | 112.2351 | 21.7444 | Guangdong
Yangjiang 6 | Under Construction | PWR (Pressuised Water Reactor) | Pressurized water reactors (PWRs) constitute the large majority of all Western nuclear power plants (excepting the United Kingdom) and are one of three types of light water reactor (LWR), the other types being boiling water reactors (BWRs) and supercritical water reactors (SCWRs). In a PWR, the primary coolant (water) is pumped under high pressure to the reactor core where it is heated by the energy generated by the fission of atoms. The heated water then flows to a steam generator where it transfers its thermal energy to a secondary system where steam is generated and flows to turbines which, in turn, spin an electric generator. In contrast to a boiling water reactor, pressure in the primary coolant loop prevents the water from boiling within the reactor. All LWRs use ordinary water as both coolant and neutron moderator. | China Guangdong Nuclear Power Group | Yangjiang Nuclear Power Company | ACPR-1000 | 112.2351 | 21.7444 | Guangdong

## BasicCh
核电站 | 状态 | 反应堆类型 | 反应堆类型解释 | 所有者 | 运营商 | 反应堆模型 | 经度 | 纬度 | 省份
中国原子能科学研究院 | 运营 | 快堆 | 快堆，是“快中子反应堆”的简称，是世界上第四代先进核能系统的首选堆型，代表了第四代核能系统的发展方向。其形成的核燃料闭合式循环，可使铀资源利用率提高至60%以上，也可使核废料产生量得到最大程度的降低，实现放射性废物最小化。国际社会普遍认为，发展和推广快堆，可以从根本上解决世界能源的可持续发展和绿色发展问题。 | 中国核工业集团公司 | 中国原子能科学研究院 | BN-20 | 116.0539 | 39.7507 | 北京
昌江核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 海南核电公司 | CNP-600 | 109.041 | 19.3917 | 海南
昌江核电站2期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 海南核电公司 | CNP-600 | 109.041 | 19.3917 | 海南
大亚湾核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广东核电集团 | 大亚湾核电运营管理有限公司 | M-310 | 114.5471 | 22.5942 | 广东
大亚湾核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广东核电集团 | 大亚湾核电运营管理有限公司 | CPR-1000 | 114.5471 | 22.5942 | 广东
防城港核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 广西防城港核电有限公司 | 广西防城港核电有限公司 | CPR-1000 | 108.3558 | 21.6221 | 广西
防城港核电站2期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 广西防城港核电有限公司 | 广西防城港核电有限公司 | CPR-1000 | 108.3558 | 21.6221 | 广西
方家山核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 秦山核电公司 | CPR-1000 | 120.9432 | 30.4461 | 浙江
方家山核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 秦山核电公司 | CPR-1000 | 120.9432 | 30.4461 | 浙江
福清核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 中国核工业集团福建福清核电有限公司 | CPR-1000 | 119.5344 | 25.522 | 福建
福清核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 中国核工业集团福建福清核电有限公司 | CPR-1000 | 119.5344 | 25.522 | 福建
福清核电站3期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 中国核工业集团福建福清核电有限公司 | CPR-1000 | 119.5344 | 25.522 | 福建
福清核电站4期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 中国核工业集团福建福清核电有限公司 | CPR-1000 | 119.5344 | 25.522 | 福建
福清核电站5期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 中国核工业集团福建福清核电有限公司 | 华龙1号 | 119.5344 | 25.522 | 福建
海阳核电站1期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 国家电力投资集团 | 山东核电有限公司 | AP-1000 | 120.9432 | 30.4461 | 山东
海阳核电站2期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 国家电力投资集团 | 山东核电有限公司 | AP-1000 | 120.9432 | 30.4461 | 山东
红沿河核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁红沿河核电有限公司 | 辽宁红沿河核电有限公司 | CPR-1000 | 121.5742 | 39.7672 | 辽宁
红沿河核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁红沿河核电有限公司 | 辽宁红沿河核电有限公司 | CPR-1000 | 121.5742 | 39.7672 | 辽宁
红沿河核电站3期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁红沿河核电有限公司 | 辽宁红沿河核电有限公司 | CPR-1000 | 121.5742 | 39.7672 | 辽宁
红沿河核电站4期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁红沿河核电有限公司 | 辽宁红沿河核电有限公司 | CPR-1000 | 121.5742 | 39.7672 | 辽宁
红沿河核电站5期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁红沿河核电有限公司 | 辽宁红沿河核电有限公司 | ACPR-1000 | 121.5742 | 39.7672 | 辽宁
红沿河核电站6期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁红沿河核电有限公司 | 辽宁红沿河核电有限公司 | ACPR-1000 | 121.5742 | 39.7672 | 辽宁
岭澳核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁核电有限公司 | 大亚湾核电运营管理有限公司 | M-310 | 114.4969 | 22.5539 | 广东
岭澳核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 辽宁核电有限公司 | 大亚湾核电运营管理有限公司 | M-310 | 114.4969 | 22.5539 | 广东
岭澳核电站3期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 岭东核电有限公司 | 大亚湾核电运营管理有限公司 | CPR-1000 | 114.4969 | 22.5539 | 广东
岭澳核电站4期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 岭东核电有限公司 | 大亚湾核电运营管理有限公司 | CPR-1000 | 114.4969 | 22.5539 | 广东
宁德核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 福建宁德核电有限公司 | CPR-1000 | 120.2604 | 27.1097 | 福建
宁德核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 福建宁德核电有限公司 | CPR-1000 | 120.2604 | 27.1097 | 福建
宁德核电站3期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 福建宁德核电有限公司 | CPR-1000 | 120.2604 | 27.1097 | 福建
宁德核电站4期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 福建宁德核电有限公司 | CPR-1000 | 120.2604 | 27.1097 | 福建
秦山核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 秦山核电公司 | 中国核工业集团核运营管理有限公司 | CNP-300 | 120.9237 | 30.4375 | 浙江
秦山核电站2.1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 核电秦山联营有限公司 | 核电秦山联营有限公司 | CNP-600 | 120.9237 | 30.4375 | 浙江
秦山核电站2.2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 核电秦山联营有限公司 | 核电秦山联营有限公司 | CNP-600 | 120.9237 | 30.4375 | 浙江
秦山核电站2.3期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 核电秦山联营有限公司 | 核电秦山联营有限公司 | CNP-600 | 120.9237 | 30.4375 | 浙江
秦山核电站2.4期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 核电秦山联营有限公司 | 核电秦山联营有限公司 | CNP-600 | 120.9237 | 30.4375 | 浙江
秦山核电站3.1期 | 运营 | 加压重水反应堆 | 重水即氧化氘作为慢化剂的核反应堆被称为重水反应堆，或简称为重水堆现在的反应堆几乎都利用热中子，因此慢化剂是反应堆不可缺少的组成部分慢化剂与中子碰撞使中子亦即减少中子的数量的话，便失去了意义。所以，重水是非常优异的慢化剂，它与石墨并列是最常用的慢化剂。 | 秦山第三合资公司 | 秦山第三合资公司 | CANDU-6 | 120.9237 | 30.4375 | 浙江
秦山核电站3.2期 | 运营 | 加压重水反应堆 | 重水即氧化氘作为慢化剂的核反应堆被称为重水反应堆，或简称为重水堆现在的反应堆几乎都利用热中子，因此慢化剂是反应堆不可缺少的组成部分慢化剂与中子碰撞使中子亦即减少中子的数量的话，便失去了意义。所以，重水是非常优异的慢化剂，它与石墨并列是最常用的慢化剂。 | 秦山第三合资公司 | 秦山第三合资公司 | CANDU-6 | 120.9237 | 30.4375 | 浙江
三门核电站1期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 三门核电有限公司 | AP-1000 | 121.6437 | 29.0968 | 浙江
三门核电站2期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 三门核电有限公司 | AP-1000 | 121.6437 | 29.0968 | 浙江
石岛湾核电站1期 | 修建 | 高温气冷堆 | 用作，出口温度高的核反应堆。高温气冷堆采用涂敷颗粒燃料，以石墨作慢化剂。为，甚至更高。核燃料一般采用高浓二氧化铀，亦有采用低浓二氧化铀的。根据堆芯形状，高温气冷堆分球床高温气冷堆和棱柱状高温气冷堆。 | 中国华能集团公司 | 华能山东石岛湾核电有限公司 | HTR-PM | 121.6437 | 29.0968 | 山东
台山核电站1期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 广东台山核电合资有限公司 | 广东台山核电合资有限公司 | EPR-1750 | 112.9063 | 21.9814 | 广东
台山核电站2期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 广东台山核电合资有限公司 | 广东台山核电合资有限公司 | EPR-1750 | 112.9063 | 21.9814 | 广东
田湾核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 江苏核电有限公司 | 江苏核电有限公司 | VVER V-428 | 119.4693 | 34.6957 | 江苏
田湾核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 江苏核电有限公司 | 江苏核电有限公司 | VVER V-428 | 119.4693 | 34.6957 | 江苏
田湾核电站3期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 江苏核电有限公司 | VVER V-428 | 119.4693 | 34.6957 | 江苏
田湾核电站4期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国核工业集团公司 | 江苏核电有限公司 | VVER V-428 | 119.4693 | 34.6957 | 江苏
阳江核电站1期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 广东核电合资有限公司 | 阳江核电公司 | CPR-1000 | 112.2351 | 21.7444 | 广东
阳江核电站2期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 广东核电合资有限公司 | 阳江核电公司 | CPR-1000 | 112.2351 | 21.7444 | 广东
阳江核电站3期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 阳江核电公司 | CPR-1000 | 112.2351 | 21.7444 | 广东
阳江核电站4期 | 运营 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 阳江核电公司 | CPR-1000 | 112.2351 | 21.7444 | 广东
阳江核电站5期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 阳江核电公司 | ACPR-1000 | 112.2351 | 21.7444 | 广东
阳江核电站6期 | 修建 | 压力水冷反应堆 | 压水堆使用加压轻水（即普通水）作冷却剂和慢化剂，且水在堆内不沸腾的核反应堆。燃料为低浓铀。20世纪80年代，被公认为是技术最成熟，运行安全、经济实用的堆型。 | 中国广核核电集团有限公司 | 阳江核电公司 | ACPR-1000 | 112.2351 | 21.7444 | 广东

## TimelineEn
Name | Construction Start Date | First Criticality | First Grid Connection | Commercial Operation
Cefr | 2000-05-10 | 2010-07-21 | 2011-07-21
Changjiang1 | 2010-04-25 | 2015-10-12 | 2015-12-25 | 2015-12-25
Changjiang2 | 2010-11-21
Daya Bay 1 | 1987-08-07 | 1993-07-28 | 1993-08-31 | 1994-02-01
Daya Bay 2 | 1988-04-07 | 1994-01-21 | 1994-02-07 | 1994-05-06
Fangchenggang 1 | 2010-07-30 | 2015-10-13 | 2015-10-25 | 2016-01-01
Fangchenggang 2 | 2010-12-23
Fangjiashan 1 | 2008-12-26 | 2014-10-21 | 2014-11-04 | 2014-12-15
Fangjiashan 2 | 2009-07-17 | 2014-12-25 | 2015-01-12 | 2015-02-12
Fuqing 1 | 2008-11-21 | 2014-07-24 | 2014-08-20 | 2014-11-22
Fuqing 2 | 2009-06-17 | 2015-07-22 | 2015-08-06 | 2015-10-16
Fuqing 3 | 2010-12-31
Fuqing 4 | 2012-11-17
Fuqing 5 | 2015-05-07
Haiyang1 | 2009-09-24
Haiyang2 | 2010-06-20
Hongyanhe1 | 2007-08-18 | 2013-01-16 | 2013-02-17 | 2013-06-06
Hongyanhe2 | 2008-03-28 | 2013-10-24 | 2013-11-23 | 2014-05-13
Hongyanhe3 | 2009-03-07 | 2014-10-27 | 2015-03-23 | 2015-08-16
Hongyanhe4 | 2009-08-15 | 2016-03-05
Hongyanhe5 | 2015-03-29
Hongyanhe6 | 2015-07-24
Ling Ao 1 | 1997-03-15 | 2002-02-04 | 2002-02-26 | 2002-05-28
Ling Ao 2 | 1997-11-28 | 2002-09-14 | 2002-09-14 | 2003-01-08
Ling Ao 3 | 2005-12-15 | 2010-06-09 | 2010-07-15 | 2010-09-15
Ling Ao 4 | 2006-06-15 | 2011-02-25 | 2011-05-03 | 2011-08-07
Ning de 1 | 2008-02-18 | 2012-11-24 | 2012-12-28 | 2013-04-15
Ning de 2 | 2008-11-12 | 2013-12-20 | 2014-01-04 | 2014-05-04
Ning de 3 | 2010-01-08 | 2015-03-08 | 2015-03-21 | 2015-06-10
Ning de 4 | 2010-09-29
Qinshan 1 | 1985-03-20 | 1991-10-31 | 1991-12-15 | 1994-04-01
Qinshan 2 1 | 1996-06-02 | 2001-11-15 | 2002-02-06 | 2002-04-15
Qinshan 2 2 | 1997-04-01 | 2004-02-25 | 2004-03-11 | 2004-05-03
Qinshan 2 3 | 2006-04-28 | 2010-07-13 | 2010-08-01 | 2010-10-05
Qinshan 2 4 | 2007-01-28 | 2011-11-17 | 2011-11-25 | 2011-12-30
Qinshan 3 1 | 1998-06-08 | 2002-09-21 | 2002-11-19 | 2002-12-31
Qinshan 3 2 | 1998-09-25 | 2003-01-18 | 2003-06-12 | 2003-07-24
Sanmen 1 | 2009-04-19
Sanmen 2 | 2009-12-15
Shidao Bay 1 | 2012-12-09
Taishan 1 | 2009-11-18
Taishan 2 | 2010-04-15
Tianwan 1 | 1999-10-20 | 2005-12-20 | 2006-05-12 | 2007-05-17
Tianwan 2 | 2000-09-20 | 2007-05-01 | 2007-05-14 | 2007-08-16
Tianwan 3 | 2012-12-27
Tianwan 4 | 2013-09-27
Yangjiang 1 | 2008-12-16 | 2013-12-23 | 2013-12-31 | 2014-03-25
Yangjiang 2 | 2009-06-04 | 2015-03-02 | 2015-03-10 | 2015-06-05
Yangjiang 3 | 2010-11-15 | 2015-10-11 | 2015-10-18 | 2016-01-01
Yangjiang 4 | 2012-11-17
Yangjiang 5 | 2013-09-18
Yangjiang 6 | 2013-12-23

## TimelineCh
核电站 | 始建时间 | 首次临界（正式进入带功率运行状态） | 首次发电 | 开始商业运营 | 省份
中国原子能科学研究院 | 2000-05-10 | 2010-07-21 | 2011-07-21 |  | 北京
石岛湾核电站1期 | 2012-12-09 |  |  |  | 山东
海阳核电站1期 | 2009-09-24 |  |  |  | 山东
海阳核电站2期 | 2010-06-20 |  |  |  | 山东
红沿河核电站1期 | 2007-08-18 | 2013-01-16 | 2013-02-17 | 2013-06-06 | 辽宁
红沿河核电站2期 | 2008-03-28 | 2013-10-24 | 2013-11-23 | 2014-05-13 | 辽宁
红沿河核电站3期 | 2009-03-07 | 2014-10-27 | 2015-03-23 | 2015-08-16 | 辽宁
红沿河核电站4期 | 2009-08-15 | 2016-03-05 |  |  | 辽宁
红沿河核电站5期 | 2015-03-29 |  |  |  | 辽宁
红沿河核电站6期 | 2015-07-24 |  |  |  | 辽宁
田湾核电站1期 | 1999-10-20 | 2005-12-20 | 2006-05-12 | 2007-05-17 | 江苏
田湾核电站2期 | 2000-09-20 | 2007-05-01 | 2007-05-14 | 2007-08-16 | 江苏
田湾核电站3期 | 2012-12-27 |  |  |  | 江苏
田湾核电站4期 | 2013-09-27 |  |  |  | 江苏
秦山核电站1期 | 1985-03-20 | 1991-10-31 | 1991-12-15 | 1994-04-01 | 浙江
秦山核电站2.1期 | 1996-06-02 | 2001-11-15 | 2002-02-06 | 2002-04-15 | 浙江
秦山核电站2.2期 | 1997-04-01 | 2004-02-25 | 2004-03-11 | 2004-05-03 | 浙江
秦山核电站2.3期 | 2006-04-28 | 2010-07-13 | 2010-08-01 | 2010-10-05 | 浙江
秦山核电站2.4期 | 2007-01-28 | 2011-11-17 | 2011-11-25 | 2011-12-30 | 浙江
秦山核电站3.1期 | 1998-06-08 | 2002-09-21 | 2002-11-19 | 2002-12-31 | 浙江
秦山核电站3.2期 | 1998-09-25 | 2003-01-18 | 2003-06-12 | 2003-07-24 | 浙江
三门核电站1期 | 2009-04-19 |  |  |  | 浙江
三门核电站2期 | 2009-12-15 |  |  |  | 浙江
方家山核电站1期 | 2008-12-26 | 2014-10-21 | 2014-11-04 | 2014-12-15 | 浙江
方家山核电站2期 | 2009-07-17 | 2014-12-25 | 2015-01-12 | 2015-02-12 | 浙江
福清核电站1期 | 2008-11-21 | 2014-07-24 | 2014-08-20 | 2014-11-22 | 福建
福清核电站2期 | 2009-06-17 | 2015-07-22 | 2015-08-06 | 2015-10-16 | 福建
福清核电站3期 | 2010-12-31 |  |  |  | 福建
福清核电站4期 | 2012-11-17 |  |  |  | 福建
福清核电站5期 | 2015-05-07 |  |  |  | 福建
宁德核电站1期 | 2008-02-18 | 2012-11-24 | 2012-12-28 | 2013-04-15 | 福建
宁德核电站2期 | 2008-11-12 | 2013-12-20 | 2014-01-04 | 2014-05-04 | 福建
宁德核电站3期 | 2010-01-08 | 2015-03-08 | 2015-03-21 | 2015-06-10 | 福建
宁德核电站4期 | 2010-09-29 |  |  |  | 福建
岭澳核电站1期 | 1997-03-15 | 2002-02-04 | 2002-02-26 | 2002-05-28 | 广东
岭澳核电站2期 | 1997-11-28 | 2002-09-14 | 2002-09-14 | 2003-01-08 | 广东
岭澳核电站3期 | 2005-12-15 | 2010-06-09 | 2010-07-15 | 2010-09-15 | 广东
岭澳核电站4期 | 2006-06-15 | 2011-02-25 | 2011-05-03 | 2011-08-07 | 广东
台山核电站1期 | 2009-11-18 |  |  |  | 广东
台山核电站2期 | 2010-04-15 |  |  |  | 广东
阳江核电站1期 | 2008-12-16 | 2013-12-23 | 2013-12-31 | 2014-03-25 | 广东
阳江核电站2期 | 2009-06-04 | 2015-03-02 | 2015-03-10 | 2015-06-05 | 广东
阳江核电站3期 | 2010-11-15 | 2015-10-11 | 2015-10-18 | 2016-01-01 | 广东
阳江核电站4期 | 2012-11-17 |  |  |  | 广东
阳江核电站5期 | 2013-09-18 |  |  |  | 广东
阳江核电站6期 | 2013-12-23 |  |  |  | 广东
大亚湾核电站1期 | 1987-08-07 | 1993-07-28 | 1993-08-31 | 1994-02-01 | 广东
大亚湾核电站2期 | 1988-04-07 | 1994-01-21 | 1994-02-07 | 1994-05-06 | 广东
防城港核电站1期 | 2010-07-30 | 2015-10-13 | 2015-10-25 | 2016-01-01 | 广西
防城港核电站2期 | 2010-12-23 |  |  |  | 广西
昌江核电站1期 | 2010-04-25 | 2015-10-12 | 2015-12-25 | 2015-12-25 | 海南
昌江核电站2期 | 2010-11-21 |  |  |  | 海南

## SpecificationEn
Name | Capacity Net/Mwe | Capacity Gross/Mwe | Capacity Thermal/MWt | Design Capacity/Mwe | Capacity Net | Capacity Gross | Capacity Thermal | Design Capacity
Cefr | 20 | 25 | 65 | 20 | 20Mwe | 25Mwe | 65Mwt | 20Mwe
Changjiang1 | 610 | 650 | 1930 | 610 | 610Mwe | 650Mwe | 1930Mwt | 610Mwe
Changjiang2 | 610 | 650 | 1930 | 610 | 610Mwe | 650Mwe | 1930Mwt | 610Mwe
Daya Bay 1 | 944 | 984 | 2950 | 930 | 944Mwe | 984Mwe | 2950Mwt | 930Mwe
Daya Bay 2 | 944 | 984 | 2905 | 930 | 944Mwe | 984Mwe | 2905Mwt | 930Mwe
Fangchenggang 1 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fangchenggang 2 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fangjiashan 1 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fangjiashan 2 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fuqing 1 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fuqing 2 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fuqing 3 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fuqing 4 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Fuqing 5 | 1000 | 1087 | 2905 | 1000 | 1000Mwe | 1087Mwe | 2905Mwt | 1000Mwe
Haiyang1 | 1000 | 1250 | 3415 | 1000 | 1000Mwe | 1250Mwe | 3415Mwt | 1000Mwe
Haiyang2 | 1000 | 1250 | 3415 | 1000 | 1000Mwe | 1250Mwe | 3415Mwt | 1000Mwe
Hongyanhe1 | 1061 | 1119 | 2905 | 1061 | 1061Mwe | 1119Mwe | 2905Mwt | 1061Mwe
Hongyanhe2 | 1061 | 1119 | 2905 | 1061 | 1061Mwe | 1119Mwe | 2905Mwt | 1061Mwe
Hongyanhe3 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Hongyanhe4 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Hongyanhe5 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Hongyanhe6 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Ling Ao 1 | 950 | 990 | 2905 | 950 | 950Mwe | 990Mwe | 2905Mwt | 950Mwe
Ling Ao 2 | 950 | 990 | 2905 | 950 | 950Mwe | 990Mwe | 2905Mwt | 950Mwe
Ling Ao 3 | 1007 | 1080 | 2905 | 1007 | 1007Mwe | 1080Mwe | 2905Mwt | 1007Mwe
Ling Ao 4 | 1007 | 1080 | 2905 | 1007 | 1007Mwe | 1080Mwe | 2905Mwt | 1007Mwe
Ning de 1 | 1018 | 1080 | 2905 | 1018 | 1018Mwe | 1080Mwe | 2905Mwt | 1018Mwe
Ning de 2 | 1018 | 1080 | 2905 | 1018 | 1018Mwe | 1080Mwe | 2905Mwt | 1018Mwe
Ning de 3 | 1018 | 1080 | 2905 | 1018 | 1018Mwe | 1080Mwe | 2905Mwt | 1018Mwe
Ning de 4 | 1018 | 1080 | 2905 | 1018 | 1018Mwe | 1080Mwe | 2905Mwt | 1018Mwe
Qinshan 1 | 298 | 310 | 966 | 288 | 298Mwe | 310Mwe | 966Mwt | 288Mwe
Qinshan 2 1 | 610 | 650 | 1930 | 610 | 610Mwe | 650Mwe | 1930Mwt | 610Mwe
Qinshan 2 2 | 610 | 650 | 1930 | 610 | 610Mwe | 650Mwe | 1930Mwt | 610Mwe
Qinshan 2 3 | 619 | 660 | 1930 | 619 | 619Mwe | 660Mwe | 1930Mwt | 619Mwe
Qinshan 2 4 | 610 | 660 | 1930 | 619 | 610Mwe | 660Mwe | 1930Mwt | 619Mwe
Qinshan 3 1 | 677 | 728 | 2064 | 677 | 677Mwe | 728Mwe | 2064Mwt | 677Mwe
Qinshan 3 2 | 677 | 728 | 2064 | 677 | 677Mwe | 728Mwe | 2064Mwt | 677Mwe
Sanmen 1 | 1000 | 1250 | 3400 | 1000 | 1000Mwe | 1250Mwe | 3400Mwt | 1000Mwe
Sanmen 2 | 1000 | 1250 | 3400 | 1000 | 1000Mwe | 1250Mwe | 3400Mwt | 1000Mwe
Shidao Bay 1 | 200 | 211 | 500 | 200 | 200Mwe | 211Mwe | 500Mwt | 200Mwe
Taishan 1 | 1660 | 1750 | 4590 | 1660 | 1660Mwe | 1750Mwe | 4590Mwt | 1660Mwe
Taishan 2 | 1660 | 1750 | 4590 | 1660 | 1660Mwe | 1750Mwe | 4590Mwt | 1660Mwe
Tianwan 1 | 990 | 1060 | 3000 | 990 | 990Mwe | 1060Mwe | 3000Mwt | 990Mwe
Tianwan 2 | 990 | 1060 | 3000 | 990 | 990Mwe | 1060Mwe | 3000Mwt | 990Mwe
Tianwan 3 | 990 | 1060 | 3000 | 990 | 990Mwe | 1060Mwe | 3000Mwt | 990Mwe
Tianwan 4 | 990 | 1060 | 3000 | 990 | 990Mwe | 1060Mwe | 3000Mwt | 990Mwe
Yangjiang 1 | 1000 | 1086 | 2095 | 1021 | 1000Mwe | 1086Mwe | 2095Mwt | 1021Mwe
Yangjiang 2 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Yangjiang 3 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Yangjiang 4 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Yangjiang 5 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe
Yangjiang 6 | 1000 | 1080 | 2905 | 1000 | 1000Mwe | 1080Mwe | 2905Mwt | 1000Mwe

## SpecificationCh
核电站 | 发电量/兆瓦电力 | 总容量/兆瓦电力 | 发热量/兆瓦热力 | 设计容量/兆瓦电力 | 省份
中国原子能科学研究院 | 20 | 25 | 65 | 20 | 北京
石岛湾核电站1期 | 200 | 211 | 500 | 200 | 山东
海阳核电站1期 | 1000 | 1250 | 3415 | 1000 | 山东
海阳核电站2期 | 1000 | 1250 | 3415 | 1000 | 山东
红沿河核电站1期 | 1061 | 1119 | 2905 | 1061 | 辽宁
红沿河核电站2期 | 1061 | 1119 | 2905 | 1061 | 辽宁
红沿河核电站3期 | 1000 | 1080 | 2905 | 1000 | 辽宁
红沿河核电站4期 | 1000 | 1080 | 2905 | 1000 | 辽宁
红沿河核电站5期 | 1000 | 1080 | 2905 | 1000 | 辽宁
红沿河核电站6期 | 1000 | 1080 | 2905 | 1000 | 辽宁
田湾核电站1期 | 990 | 1060 | 3000 | 990 | 江苏
田湾核电站2期 | 990 | 1060 | 3000 | 990 | 江苏
田湾核电站3期 | 990 | 1060 | 3000 | 990 | 江苏
田湾核电站4期 | 990 | 1060 | 3000 | 990 | 江苏
秦山核电站1期 | 298 | 310 | 966 | 288 | 浙江
秦山核电站2.1期 | 610 | 650 | 1930 | 610 | 浙江
秦山核电站2.2期 | 610 | 650 | 1930 | 610 | 浙江
秦山核电站2.3期 | 619 | 660 | 1930 | 619 | 浙江
秦山核电站2.4期 | 610 | 660 | 1930 | 619 | 浙江
秦山核电站3.1期 | 677 | 728 | 2064 | 677 | 浙江
秦山核电站3.2期 | 677 | 728 | 2064 | 677 | 浙江
三门核电站1期 | 1000 | 1250 | 3400 | 1000 | 浙江
三门核电站2期 | 1000 | 1250 | 3400 | 1000 | 浙江
方家山核电站1期 | 1000 | 1080 | 2905 | 1000 | 浙江
方家山核电站2期 | 1000 | 1080 | 2905 | 1000 | 浙江
福清核电站1期 | 1000 | 1080 | 2905 | 1000 | 福建
福清核电站2期 | 1000 | 1080 | 2905 | 1000 | 福建
福清核电站3期 | 1000 | 1080 | 2905 | 1000 | 福建
福清核电站4期 | 1000 | 1080 | 2905 | 1000 | 福建
福清核电站5期 | 1000 | 1087 | 2905 | 1000 | 福建
宁德核电站1期 | 1018 | 1080 | 2905 | 1018 | 福建
宁德核电站2期 | 1018 | 1080 | 2905 | 1018 | 福建
宁德核电站3期 | 1018 | 1080 | 2905 | 1018 | 福建
宁德核电站4期 | 1018 | 1080 | 2905 | 1018 | 福建
岭澳核电站1期 | 950 | 990 | 2905 | 950 | 广东
岭澳核电站2期 | 950 | 990 | 2905 | 950 | 广东
岭澳核电站3期 | 1007 | 1080 | 2905 | 1007 | 广东
岭澳核电站4期 | 1007 | 1080 | 2905 | 1007 | 广东
台山核电站1期 | 1660 | 1750 | 4590 | 1660 | 广东
台山核电站2期 | 1660 | 1750 | 4590 | 1660 | 广东
阳江核电站1期 | 1000 | 1086 | 2095 | 1021 | 广东
阳江核电站2期 | 1000 | 1080 | 2905 | 1000 | 广东
阳江核电站3期 | 1000 | 1080 | 2905 | 1000 | 广东
阳江核电站4期 | 1000 | 1080 | 2905 | 1000 | 广东
阳江核电站5期 | 1000 | 1080 | 2905 | 1000 | 广东
阳江核电站6期 | 1000 | 1080 | 2905 | 1000 | 广东
大亚湾核电站1期 | 944 | 984 | 2950 | 930 | 广东
大亚湾核电站2期 | 944 | 984 | 2905 | 930 | 广东
防城港核电站1期 | 1000 | 1080 | 2905 | 1000 | 广西
防城港核电站2期 | 1000 | 1080 | 2905 | 1000 | 广西
昌江核电站1期 | 610 | 650 | 1930 | 610 | 海南
昌江核电站2期 | 610 | 650 | 1930 | 610 | 海南